MANUFACTURER

Weather Shield Mfg., Inc.

One Weather Shield Plaza

P.O. Box 309

Medford, WI 54451-0309

Phone:   1-800-538-8836

Fax:  1-800-390-1225

E-mail:  archservices@weathershield.com

CSI PRODUCT SPECIFICATION

Specifier note:  This CSI product specification is written using the Construction Specifications Institute (CSI) Manual of Practice (Fifth Edition), including MasterFormat™, SectionFormat™ and PageFormat™.

Specifier note:  Information contained in this CSI product specification is accurate as of August 2018.  Due to ongoing product changes, this information is subject to change.  Consult manufacturer for complete product details.

PART 1 GENERAL

1.1	SECTION INCLUDES

A.	HR175 Single-Hung Tilt Wood Windows with Hardware.

B.	Glazing.

C.	Accessories.

1.2	RELATED SECTIONS

A.	Section 01 33 00 – Submittal Procedures.

B.	Section 01 65 00 – Product Delivery Requirements.

C.	Section 01 66 00 – Product Storage and Handling Requirements.

D.	Section 06 10 00 – Rough Carpentry.

E.	Section 06 20 00 – Finish Carpentry.

F.	Section 07 90 00 – Joint Protection.

G.	Section 08 80 00 – Glazing.

H.	Section 09 90 00 – Painting and Coating.

1.3 	REFERENCES

- American Society for Testing and Materials (ASTM):

- ASTM C1036 - Standard Specification for Flat Glass.

- ASTM C1048 - Standard Specification for Heat-Treated Flat Glass – Kind HS, Kind FT Coated and Uncoated Glass.

- ASTM D3656 – Standard Specification for Insect Screening and Louver Cloth Woven From Vinyl-Coated Glass Yarns.

- ASTM E283 - Standard Test Method for Determining Rate of Air Leakage Through Exterior Windows, Curtain Walls, and Doors Under Specified Pressure Differences Across the Specimen.

- ASTM E330 - Standard Test Method for Structural Performance of Exterior Windows, Doors, Skylights and Curtain Walls by Uniform Static Air Pressure Difference.

- ASTM E547 - Standard Test Method for Water Penetration of Exterior Windows, Skylights, Doors and Curtain Walls by Cyclic Static Air Pressure Difference.

- ASTM E2190 - Standard Specification for Insulating Glass Unit Performance and Evaluation.

- ASTM F588 - Standard Test Methods for Measuring the Forced Entry Resistance of Window Assemblies, Excluding Glazing Impact.

  - American Architectural Manufacturers Association/Window and Door Manufacturers Association/Canadian Standards Association (AAMA/WDMA/CSA):

- AAMA/WDMA/CSA 101/I.S.2/A440-11/NAFS – North American Fenestration Standard/Specification for Windows, Doors and Skylights.

- Window and Door Manufacturers Association (WDMA):

      - WDMA I.S.2 – Hallmark Certification Program.

      - WDMA 4-05 - Industry Standard for Water Repellent Preservative Non-Pressure Treatment for Millwork.

- National Fenestration Rating Council (NFRC):

1.   NFRC 102 – Procedure for Measuring the Steady-State Thermal Transmittance of 					Fenestration Systems.

2.   NFRC 200 – Procedure for Determining Fenestration Product Solar Heat Gain Coefficient 				and Visible Transmittance at Normal Incidence.

3.	NFRC 500 – Procedure for Determining Fenestration Product Condensation Resistance Values.

4.   ENERGY STAR® Compliant Models available.

- Insulating Glass Certification Council (IGCC).

- Safety glass tested in accordance with ANSI Z97.1.

- Screen Manufacturers Association (SMA):

1.   SMA-1201-2013 – Specifications for Insect Screens for Windows, Sliding Doors and

Swinging Doors.

H.   Federal Specification (FS):

1.   FS L-S-125B – Screen, Insect Non-Metallic.

1.4 	PERFORMANCE REQUIREMENTS

Specifier note:  higher test results may be achieved using high performance options and/or smaller sizes.  Specific testing is dependent upon size and options.  For further information contact your Weather Shield territory manager.

- Design and performance requirements:

- Single Hung window shall be Hallmark certified in compliance with AAMA/WDMA/CSA 101/I.S.2/A440-11:

[LC-PG35-H (59 x 89-5/8 jamb size tested)]

- Air infiltration shall not exceed 0.30 cfm/ft2 (1.5 L/s•m2) when tested at 1.57 psf [75 Pa] according to ASTM E283.

- No water penetration when tested at the following pressure according to ASTM E547:        [LC-PG35-H – 5.25 psf (251Pa)]

- Window must withstand the following positive/negative structural test pressure without damage when tested according to ASTM E330:

[LC-PG35-H – +52.5/-52.5 (+2514/-2514)]

- Windows must pass a forced entry resistance test of at least Level 10 to meet requirements set forth in ASTM F588.

  - SUBMITTAL PROCEDURES

A. 	Shop drawings:  submit shop drawings according to Section 01 33 23 – Shop Drawings, Product Data and Samples.

B.	Product data:  submit manufacturer's product catalog data and installation guides.

C.	Samples:  submit samples including the following:

1.   Corner cutaway:  submit corner cutaway, including glazing system, quality of construction and specified exterior/interior finishes.

2.	Exterior:  submit color samples of exterior color finishes.

3.	Hardware:  submit samples indicating typical hardware finishes.

    - Quality control reporting:  submit manufacturer’s test results reported by independent laboratory indicating compliance with specified performance and design requirements, as listed in 1.4 Performance Requirements, according to Section 01 33 26 – Source Quality Control Reporting.

1.6	QUALITY ASSURANCE

- Single source responsibility:  except for hardware mechanisms, the window manufacturer is responsible for fabrication of all components and materials including treatment of wood with acceptable wood preservatives, millwork of sash and frame members, assembly of most insulating glass and manufacture of all sash and frames.

B.  	Regulatory requirements:

1.  	Emergency escape and rescue:  comply with requirements for sleeping units of

[IBC International Building Code] [IRC International Residential Code] [___________________________________].

  - PRODUCT DELIVERY REQUIREMENTS

A.   Comply with the product delivery requirements specified in Section 01 65 00 - Product Delivery Requirements.

  - PRODUCT STORAGE AND HANDLING REQUIREMENTS

  - Comply with the requirements for storage and handling of products as specified in            Section 01 66 00 – Product Storage and Handling Requirements.

  - Store units in a dry location, off the ground, under cover, protected from weather and construction activities.

1.9	WARRANTIES

- Workmanship and materials: 20-year limited warranty.

- Prefinished exterior finish:  10-year limited warranty.

C.	Insulating glass: 20-year limited warranty.

PART 2 PRODUCTS

2.1	MANUFACTURED UNITS

A.	HR175® Single-Hung Tilt wood windows as manufactured by Weather Shield Mfg., Inc. of 	Medford, Wisconsin.

2.2	SINGLE-HUNG TILT WINDOW MATERIALS

A.	Frame:

- Exterior frame members milled from pine, kiln dried to a moisture content of 6-12% at the time of fabrication and treated with a water-repellent preservative.  The frame includes solid, one-piece head and side jambs with applied inside stops at side jambs.  Frame corners shall be coped, butted, chemically and mechanically fastened.

- Interior frame materials to be milled from [pine (standard)] [oak] [cherry] [maple] [mahogany] [vertical grain fir] [mixed grain fir] [character alder], kiln dried to a moisture content of 6-12% at the time of fabrication and treated with a water-repellent preservative.

- Frame thickness shall be 1-1/4” [32mm] head and side jambs, and 1-3/16” [30mm] sill.

4.   Frame shall have standard jamb depth of 5-1/8” [130mm].

5.	Frame shall have 2” [51mm] brick mould factory applied to head and side jambs; sill shall have 1-1/16” [27mm] sill nose.

6.   Option:  frame provided with jamb extensions up to and including 12” [305mm] overall jamb depth [factory applied (standard)] [shipped loose].  Jamb extensions match interior frame finish.

B.	Sash:

- Exterior sash materials shall be milled from pine, kiln dried to a moisture content of 6-12% 	at the time of fabrication and treated with a water-repellent preservative.  Sash corners shall 	be mortised, tenoned and mechanically fastened.

- Interior sash materials shall be milled from [pine (standard)] [oak] [cherry] [maple]  [mahogany] [vertical grain fir] [mixed grain fir] [character alder], kiln dried to a moisture content 	of 6-12% at the time of fabrication and treated with a water-repellent preservative.

- Sash shall be 1-3/4” [44mm] thick with 2-5/8” [67mm] stiles and top rail, 4-1/16” [103mm] 	bottom rail, 1-11/16” [43mm] check rail.

- Top sash stationary; bottom sash must tilt in from the inside for cleaning purposes without 	removal of screens.

- Option:  1-11/16” x 1-11/16” [43mmx43mm] sash lug.

C.	Finish:

1.	Exterior finish:  [primed (standard)] [no prime/no fingerjoint] [prefinished shall be low gloss, two-component acrylic polyurethane: [white] [cameo] [desert tan] [tan] [hartford green] [jet black] [craftsman bronze] [brick red] [heritage brown] [adobe] [obsidian] [gray matters] [45 designer colors] [custom color as selected by the architect].

- Interior finish:  [Clear treated wood (standard)] [primed] [prefinished white latex] [clear sealed] [stained and sealed: [clear satin] [golden oak] [fruitwood] [chestnut] [rich mahogany]

D.   Glazing:  select quality complying with ASTM C1036.  Insulating glass IGCC certified to 				performance Level CBA when tested in accordance with ASTM E2190.

- Glazing method:

a.	Insulated glass consisting of two lites of clear [annealed (standard)] [tempered] glass

b.	Single glazed consisting of one lite of clear [annealed] [tempered] glass

- Glass type:

[Clear (standard)]

[Low E 272 sputter coat applied on number two surface]

[High-performance Low E:  insulated glass consisting of one lite sputter coat Low E 366 applied on the number two surface and one lite clear glass with warm-edge spacer system and argon gas in airspace].  Optional:  [EasyCare coating applied on number one surface] [pyrolytic Low E applied on number four surface].

[High-performance Low E laminated:  insulated glass consisting of one lite sputter coat Low E 366 applied on the number two surface and one lite of clear laminated glass with .030” polyvinyl butyral interlayer with warm-edge spacer system and argon gas in airspace].  Optional:  [EasyCare coating applied on number one surface] [Safeguard] [SafeGuard Certified].

[Laminated glass]

[Specialty glass:  [obscure] [bronze] [gray] [heavy restoration] [other as selected by the Architect]]

- Insulated glass airspace:

[Air (standard)]

[Argon gas]

[Altitude adjusted (not available with argon gas)]

- Insulated glass shall be sealed with a

  - [black (standard)] [gray] [charcoal shadowline] warm-edge spacer system with integrated edge seal and foil laminate moisture vapor barrier.

  - [black] [silver] stainless steel spacer system with polyisobutylene edge seal.

- Glass shall be silicone glazed at sash exterior to allow reglazing from the interior with wood glazing bead.

E.	Hardware:

- Self-contained block and tackle balance system housed in vinyl jamb liner.  Jamb liner shall be [beige (standard)] [white] vinyl extruded by window manufacturer.  Block and tackle balance housing shall be mill finish.

- Sash locks shall be zinc die cast, surface mounted at bottom sash check rail and factory applied. Two sash locks are applied to all units over 28” [711mm] glass width.

- Two zinc die-cast lift handles applied to bottom rail of bottom sash.

- Finishes:  [goldtone/beige (standard)] [white/beige] [bright brass/bright brass] [adobe/beige] [oil-rubbed bronze/beige] [brushed nickel/beige] [brushed chrome/beige].

F.	Weather stripping:

- Dual durometer weather strip located at meeting rail and sill.

G.   Screens:

- [Half (standard)] [full] screen consisting of .019” [0.5mm] thick formed aluminum frames with baked-on acrylic coating, injection molded vinyl corner keys, [18x16 charcoal fiberglass (standard)] [18x16 black aluminum non-glare] [20x20 vinyl-coated, high-visibility charcoal fiberglass] mesh.

- Frame finish:  matches exterior frame/sash.

Optional accessories.  Edit as required.

H.	Interior removable grilles:

- Full perimeter wood grilles with no exposed fastening devices:  [5/8” (16mm) traditional] [7/8” (22mm) colonial] [1-3/8” (35mm) colonial].

- Pattern:  [rectangular] [marginal] [diamond (5/8” (16mm) traditional only)] [custom configuration as noted on drawings (lite cut subject to approval of Weather Shield)].

- Finish: to match interior.

- Grilles-between-glass:

- Aluminum grilles in sealed airspace:  [5/8" (16mm) flat] [11/16" (18mm) sculptured].

- Pattern:  [rectangular] [prairie] [diamond (5/8” (16mm) flat only] [custom configuration as noted on drawings (lite cut subject to approval of Weather Shield)].

- Color: [white] [adobe] [cameo] [desert tan] [tan] [hartford green] [jet black] [craftsman bronze] [brick red] [heritage brown] [obsidian].

- Optional finishes: two-tone [5/8” (16mm) flat] [11/16” (17mm) sculptured].  Color: [adobe/white interior] [cameo/white interior] [desert tan/white interior] [tan/white interior]  [hartford green/white interior] [jet black/white interior] [craftsman bronze/white interior] [brick red/white interior] [heritage brown/white interior] [obsidian/white interior].

J.   Simulated divided lites:

1.   Exterior and interior wood muntins adhered to glass with double-coated acrylic foam tape:

a.   Exterior simulated divided lite bar options:  [7/8” (22mm) historic] [1-3/8” (35mm) historic] [7/8” (22mm) colonial] [1-3/8” (35mm) colonial] [2” (51mm) colonial].

b.   Interior simulated divided lite bar options:  [7/8” (22mm) colonial] [1-3/8” (35mm) colonial] [2” (51mm) colonial].

2.   Adobe aluminum grilles in sealed airspace.

3.   Pattern: [rectangular] [marginal] [custom configuration as noted on drawings (lite cut subject to approval of Weather Shield)].

4.	   Finish:  matches exterior/interior sash finish.

2.3	ACCESSORIES AND TRIM

A.	Interior installation clips [shipped loose (standard)] [factory applied]:  [5-1/2” (140mm)]           [11” (279mm)].

B.   Exterior wood casings [factory applied (standard)] [shipped loose]:  [2” (51mm) brick mould (standard)] [2” (51mm) stucco mould] [3-1/2” (89mm) franklin casing] [3-7/16” (87mm) Washington casing] [1-1/16” (27mm) sill nose (standard)] [2” (51mm) New England sill nose] [flat casing up to 8” (203mm)] [custom profile (subject to approval of Weather Shield)].  Color to match exterior frame.

C.	Interior trim styles:  [B – 5/8”x2-7/16” (16mmx62mm)] [C – 5/8”x2-1/4” (16mmx57mm)]             [D – 1/2”x2-1/4” (13mmx57mm)] [E – 11/16”x3-1/2” (17mmx89mm)] [F – 11/16”x2-1/4” (17mmx57mm)] [G – 3/4”x3-7/16” (19mmx87mm)] [H – 1-1/16”x3-1/2” (27mmx89mm)]

[I – 5/8”x2-1/4” (16mmx57mm)] [J – 11/16”x2-7/16” (17mmx62mm)] [K – 1-3/16”x3-7/16” (30mmx87mm)] [L – 1-1/16”x3-1/2” (27mmx89mm)].  Wood species: [pine] [oak] [maple] [cherry] [mahogany] [vertical grain fir] [mixed grain fir] [character alder] [primed] [prefinished].

D.	Wood rosettes:  [2-1/2”x2-1/2” (64mmx64mm)] [3-5/8”x3-5/8” (92mmx92mm)].  Wood species: [pine] [oak] [maple] [cherry] [mahogany] [American fir] [character alder] [primed] [prefinished].

PART 3 EXECUTION

3.1	INSTALLATION

A.	Install windows according to manufacturer's instructions and reviewed shop drawings to ensure 	proper installation and operation.

B.	Install window unit plumb, level and square with no distortion of frame members.

C.	Fill perimeter frame to wall opening cavity with batt insulation.   Do not use expansive foam 				insulation.

D.	Apply approved sealant in accordance with Section 07 90 00 - Joint Protection.

E.	Do not puncture prefinished exterior.  Refer to installation instructions for complete installation recommendations.

3.2	ADJUSTING AND CLEANING

A.	Adjust operating sash and hardware to provide tight fit at contact points and at the weather 	stripping for smooth operation.

B.	Remove excess sealant materials and visible labels from glass.  Clean glass surfaces promptly 				after installation.

C.	Initiate and maintain all protection and other precautions required to ensure windows are in 	acceptable condition at time of substantial completion.

END OF SECTION